The 24 volt double pole relay is a simple to fit module wherever a dry contact, voltage free

**(IS 24)**

**24V POLARISED RELAY**

switching is required or where there is a need for higher than usual currents and voltages to

be switched. The polarised function enables it to be used in Fire Alarm and similar systems

where the polarity of the output to the bells, sounders etc. is reversed when in alarm.

**Note:**

Polarity must be correct for the relay to activate. The 24 Volt relay is mounted on   
a printed circuit board that has screwed terminals, complete with LED indication   
that the relay is activated.

|  |  |
| --- | --- |
| Supply Voltage | 24 Volts DC |
| Coil Resistance | 1105 Ohms |
| Nominal Current | 41 mA |
| Double Pole Relay rate at | 8 Amps at 240 V AC  8 Amps at 30 V DC |
| Dimensions | 56mm (W)  69mm (L)  30mm (H) |
| Packing Weight | 38g |

For a neat, easy and safe fixing we recommend the use of IS Sticky Feet Size B, a self adhesive mounting pillar.



